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· Technical Specialist


This Information Brief contains important information that affects the processes our people use.

RCD & Fuse Material Numbers

Purpose
To inform personnel of additional parts now available for the Pole Mounted Terminal Box (42/741 & 42/742) and underground fuse pit inserts (42/733 & 42/737) for Payphone and RCM Services respectively.

Detail
The two types of RCD and fuses are available via the stores system.  When ordering, ensure you order the correct component for the RCD/Fuse setup. 

Setup 1:
10A RCD requires a 16A cartridge fuse

Setup 2:
16A RCD requires a 20A cartridge fuse

The material numbers are listed in the below table

How to Order
The spare parts can be ordered via the stores system by  quoting the Material Number for the part required


Material Number
Description
Quantity Per Order


042/01066
Fuse, Cartridge Fast 16A 500V
1


042/01067
Fuse, Cartridge Fast 20A 500V
1


042/01062
RCD, 10A Payphone 4EBE210/30
1


042/01063
RCD, 16A Payphone 4EBE216/30
1

Contact for further information
Tony Goldrick

Telstra Payphones 

Technical Support 

1800 815 804
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